## Worksheet
ITEMS LIST
ULN NUMBER | CODE | Brand | Item Name | Warehouse Size | Catalog Number | Description | Minimum Level | Maximum Level | Laboratory | Section | Unit Issue | Hazardous | Storage Temp
| LAB2375 |  | ACT 5 DIFF DILUENT | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2376 |  | ACT 5 DIFF FIX | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2377 |  | AU480 CUVETTES | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2378 |  | AU480 REAGENT PROBE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2379 |  | AU480 SAMPLE PROBE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2380 |  | BICARBONATE CALIBRATOR | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2381 |  | BICARBONATE CALIBRATOR | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2382 |  | CHLORIDE ELECTRODE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2383 |  | DECONTAMINATION SOLUTION | 25 | [5 empty] | Blood Science | Bottle | no | cold chain
| LAB2384 |  | ELGA LAMP | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2385 |  | FACS ROLL | 25 | [5 empty] | Blood Science | Roll | no | cold chain
| LAB2386 |  | HIV DETERMINE | 25 | [5 empty] | Blood Science | roll | no | cold chain
| LAB2387 |  | HYPOCHLORITE SOLUTION | 25 | [5 empty] | Blood Science | Bottle | no | cold chain
| LAB2389 |  | ISE BUFFER | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2390 |  | ISE MID STANDARD | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2391 |  | ISE REFERENCE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2392 |  | ISE REFERENCE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2393 |  | ISE TUBE SET | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2394 |  | ISE/INTERNAL REFERENCE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2395 |  | K+ ELECTRODE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2396 |  | MIXING BAR L SHAPE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2397 |  | MIXING BAR SPIRAL | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2398 |  | NA ELECTRODE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2399 |  | PHOTOMETER LAMP | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2400 |  | PINCH VALVE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2401 |  | PREFILTER HYTREX | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2402 |  | ROHREN TUBES | 25 | [5 empty] | Blood Science | Each | no | cold chain
| LAB2403 |  | ROLLER TUBING | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2404 |  | SAMPLE CUPS | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2405 |  | SHEATH FLUID PARTEC | 25 | [5 empty] | Blood Science | Bottle | no | cold chain
| LAB2406 |  | SYSMEX CLEANING SOLUTION | 25 | [5 empty] | Blood Science | Botle | no | cold chain
| LAB2407 |  | TRINITY UNIGOLD HIV | 25 | [5 empty] | Blood Science | Bottle | no | cold chain
| LAB2408 |  | WASH SOLUTION | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2409 |  | CONTROL SERUM LEVEL 1 20 X 5ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2411 |  | CONTROL SERUM LEVEL 2 20 X 5ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2412 |  | UREA R1 4 X 25 ML R2 4 X 25ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2413 |  | URINARY CSF/PROTEIN R1 4 X 19 ML 1 X 3ML (CAL) | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2414 |  | ACT 5 DIFF CONTROLS LOW NORMAL HIGH 2 X 25 ML | 25 | [5 empty] | Blood Science | KIT | no | cold chain
| LAB2415 |  | DXH 500 CONTROL 2 X 2.3 ML | 25 | [5 empty] | Blood Science | Set | no | cold chain
| LAB2416 |  | BICARBONATE R1 4 X 25 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2417 |  | ALBUMIN R1 4 X 29 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2418 |  | SYSTEM CALIBRATOR 20 X 5 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2419 |  | TOTAL CHOLESTEROL R1 4 X 2.25 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2420 |  | SYNCHRON CONTROLS L1 L2 L3 2 X 20 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2421 |  | CD4 EASY COUNT COUNT KIT | 25 | [5 empty] | Blood Science | PER KIT | no | cold chain
| LAB2422 |  | TOTAL BILIRUBIN R1 4 X 15 ML R1 4 X 15 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2423 |  | URINARY CSF/PROTEIN R1 4 X 19 ML 1 X 3ML (CAL) | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2424 |  | AST R1 4 X 6 ML R2 4 X 6 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2425 |  | DIRECT BILIRUBIN R1 4 X 6 ML R1 4 X 6 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2426 |  | TOTAL PROTEIN R1 4 X 25 ML R2 4 X 25 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2427 |  | GGT R1 4 X 18 ML R2 4 X 18 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2428 |  | TOTAL BILIRUBIN R1 4 X 15 ML R1 4 X 15 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2429 |  | DIRECT BILIRUBIN R1 4 X 6 ML R1 4 X 6 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2430 |  | CONTROL SERUM LEVEL 1 20 X 5ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2431 |  | CONTROL SERUM LEVEL 2 20 X 5ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2432 |  | ALT R1 4 X 12 ML R2 4 X 6 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2433 |  | UREA R1 4 X 25 ML R2 4 X 25ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2434 |  | UREA R1 4 X 25 ML R2 4 X 25ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2435 |  | HBA1C | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2436 |  | ALT R1 4 X 12 ML R2 4 X 6 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2437 |  | ITA CONTROL SERUM LEVEL 3 | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2438 |  | SERUM PROTEIN MULTI CALIBRATOR | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2439 |  | DXH 500 CONTROL 2 X 2.3 ML | 25 | [5 empty] | Blood Science | SEt | no | cold chain
| LAB2440 |  | CREATININE R1 4 X 45 ML R2 4 X 15 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2441 |  | GLUCOSE R1 4 X 25 ML R2 4 X 12.5 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2442 |  | TOTAL PROTEIN R1 4 X 25 ML R2 4 X 25 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2443 |  | GLUCOSE R1 4 X 25 ML R2 4 X 12.5 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2444 |  | LDH R1 4 X 40 ML R2 4 X 20 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2445 |  | SYSTEM CALIBRATOR 20 X 5 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2446 |  | HBA1C CONTROLS | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2447 |  | SYNCHRONE HEMOLYTIC REAGENT | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2448 |  | TOTAL CHOLESTEROL R1 4 X 2.25 ML | 25 | [5 empty] | Blood Science | Each' | no | cold chain
| LAB2449 |  | CREATININE R1 4 X 45 ML R2 4 X 15 ML | 25 | [5 empty] | Blood Science | EACH/SET | no | cold chain
| LAB2374 |  | DXH 500 CONTROL 2 X 2.3 ML | 25 | [5 empty] | Blood Science | SET | no | cold chain
| LAB2374 |  | WASH SOLUTION | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ISE BUFFER 4 X 2000 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ISE LOW SERUM STANDARD 4X 100 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ACT 5DIFF FIX | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ACT 5DIFF FIX | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | BICARBONATE CALIBRATOR | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ACT 5DIFF RINSE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ISE BUFFER 4 X 2000 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ACT 5DIFF HgB LYSE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ACT 5DIFF WBC LYSE | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ACT 5DIFF FIX | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ISE NA/K SELECTIVITY CHECK | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ISE HIGH SERUM STANDARD 4 X 100 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | DxH 500 Series Lyse | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | ISE MID STANDARD 4 X 2000 ML | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | DETERMINE HIV-1/2 SET | 25 | [5 empty] | Blood Science | EACH | no | cold chain
| LAB2374 |  | UNI-GOLD HIV COMPLETE | 25 | [5 empty] | Blood Science | EACH | no | cold chain